MULTI EXPANSION FOAM ATTACHMENT

Task Force Tips model # FJ-HMX FoamJet air aspirating attachment for multi expansion foam production shall be provided. The device shall be designed for use with TFT Handline, Dual-Force and Metro 2 series nozzles and constructed from polypropylene, stainless steel and hardcoat anodized aluminum. Use with these nozzles shall allow for adjustment of expansion rates and stream reach. The attachment shall be able to produce a quality foam blanket using most commonly used concentrates and be able to be quickly removed to restore the nozzle to its original configuration. The unit shall have a unique serial number and be covered by a five-year warranty.