LOW EXPANSION FOAM ATTACHMENT

Task Force Tips model # FJ-LX-M FoamJet air aspirating tube attachment for low expansion foam production shall be provided. The device shall be designed for use with TFT Master Stream 1000, Master Stream 1250 small body, and Master Foam 250, 350, 500, and 750 gpm series nozzles and constructed from molded polymer, Nylon, and hardcoat anodized aluminum. The attachment shall be able to produce a quality foam blanket using most commonly used concentrates and be able to be quickly removed to restore the nozzle to its original configuration. The unit shall have a unique serial number and be covered by a five-year warranty.