STACKED NOZZLE TIP SET

Task Force Tips model # FS-3STACK-IF smooth bore nozzle tip set shall be provided. The set shall include three (3) hardcoat anodized aluminum tips in the following orifice sizes: 1", 1-1/8", and 1-1/4".

Each tip shall have a laser engraved pressure/flow chart and have 1-1/2" female NPSH threads. The 1-1/4” and 1-1/8” tips shall have 1-1/2" male NH threads so that all three tips can be kept together. The unit shall be covered by a five-year warranty.