STACKED NOZZLE TIP SET

Task Force Tips model # FSNYSTACK-IF smooth bore nozzle tip set shall be provided. The set shall include two (2) hardcoat anodized aluminum tips in the following sizes and configuration: 1/2" bore with 1" male NPSH inlet thread and 15/16" bore 1-1/2" female NPSH inlet thread and 1" female NPSH outlet thread.

Each tip shall have a laser engraved pressure/flow chart. The unit shall be covered by a five-year warranty.