SMOOTH BORE TIP

Task Force Tips model # FSS9-IF smooth bore nozzle tip shall be provided. The nozzle shall be constructed from hardcoat anodized aluminum alloy and have a smooth inside taper. The nozzle tip shall be configured with a 1-1/2" female NPSH inlet and 1" bore. The tip shall be laser engraved with bore size, thread size, and a pressure/flow chart. The unit shall be covered by a five-year warranty.