NOZZLE SLUG TIP

Task Force Tips model # FST1.0625 nozzle slug tip shall be supplied. The tip shall be constructed from hardcoat anodized aluminum and designed for use with a ball shut off valve. The slug tip shall be configured with a 1-1/2" female NH inlet and 1-1/16" bore. 1-1/2" male NH threads shall be provided on the outlet for use with a fog nozzle or hose extension. The tip shall be laser engraved with bore size, thread size, and a pressure/flow chart. The unit shall be covered by a five-year warranty.