ADAPTER

Task Force Tips model # H-A-ARIF adapter shall be provided. For corrosion resistance the lightweight tapered adapter shall have a hardcoat anodized finish and have a 900 PSI hydrostatic strength rating. The adapter shall be configured with 2-1/2" female Task Force Tips Code-AR and 1-1/2" male NPSH threads. The unit shall be covered by a five-year warranty.