LUBRICANT

Task Force Tips model # H-LUBE-KIT, lubrication kit for hand held automatic nozzles shall be provided. The kit shall contain two polymer check tools and 4-ounce Break-Free aerosol spray can with tube.