HIGH RISE ELBOW GAUGE BAG

Task Force Tips model # HI-RISE-E high rise elbow with gauge kit shall be provided. The kit shall include Model # AVG2ENJNJ 45 degree elbow with 360 degree swiveling pressure gauge for ease of viewing. The elbow shall have a 2-1/2” female NH rocker lug swivel coupling inlet and 2-1/2” male NH rigid threaded outlet. The kit shall in include model # H-A taper reducing adapter with 2-1/2” female NH threaded inlet and 1-1/2” male NH threaded outlet, model # JNF-NJ thread increaser with 1-1/2” female NH threaded inlet and 2-1/2” male NH threaded outlet, and two model # A3813 spanner wrenches. All components shall fit into the zippered carrying bag that is included. The elbow shall have a unique serial number and be covered by a five year warranty.