HIGH RISE ELBOW VALVE AND GAUGE BAG

Task Force Tips model # HI-RISE-R high rise elbow valve with gauge kit shall be provided. The kit shall include Model # AVGSC2RNJNJ 45 degree elbow valve with 360 degree swiveling pressure gauge for ease of viewing. The valve shall have a quarter turn slow close knob with position indicator mounted on the right side of the elbow. The elbow valve shall have a 2-1/2” female NH rocker lug swivel coupling inlet and 2-1/2” male NH rigid threaded outlet. The kit shall in include model # H-A taper reducing adapter with 2-1/2” female NH threaded inlet and 1-1/2” male NH threaded outlet, model # JNF-NJ thread increaser with 1-1/2” female NH threaded inlet and 2-1/2” male NH threaded outlet, and two model # A3813 spanner wrenches. All components shall fit into the zippered carrying bag that is included. The elbow valve shall have a unique serial number and be covered by a five year warranty.