PISTOL GRIP KIT

Task Force Tips model HM692YEL-KIT pistol grip kit shall be provided. The grip shall be yellow in color. Mounting hardware shall be included.