PORTABLE ATTACK MONITOR 45 DEGREE INLET KIT

Task Force Tips model # HPM-45-KIT portable lightweight attack monitor 45 degree hose inlet kit for the Task Force Tips Hemisphere monitor shall be supplied. The kit is designed to replace the 90 degree inlet elbow valve of the Hemisphere portable attack monitor.

The kit shall include a 45 degree inlet elbow valve, o-ring, hardware, and instructions. The unit shall be covered by a five year warranty.