PORTABLE ATTACK MONITOR FIXED MOUNT

Task Force Tips model # HPM-B portable lightweight attack monitor fixed mount for the Task Force Tips Hemisphere monitor shall be supplied.

The fixed mount shall allow a Hemisphere portable monitor to be attached for use or storage. The fixed mount shall be capable of attaching to a fixture suitable to withstand the reaction forces of a flowing Hemisphere monitor. For corrosion resistance the mount shall be hardcoat anodized aluminum alloy. Two ½” stainless bolts and washers shall be included. The unit shall be covered by a five year warranty.