PORTABLE ATTACK MONITOR FLEX CLAMP CHAIN BLOCKS

Task Force Tips model # HPM-M portable lightweight attack monitor flex chain clamps for the Task Force Tips Hemisphere monitor shall be supplied.

The unit shall include a two-piece adjustable clamping mechanism with chains. Detented pins shall allow the blocks lock in place and shall stay attached to prevent loss or misplacement.

For maximum corrosion protection the unit shall be made of hardcoat anodized aluminum alloy and stainless steel. The unit shall have a unique serial number and be covered by a five-year warranty.