PORTABLE ATTACK MONITOR BACKBONE/HITCH MOUNT

Task Force Tips model # HPM-N portable lightweight attack monitor backbone and 2” receiver hitch mount for the Task Force Tips Hemisphere monitor shall be supplied.

The unit shall include a 2” square backbone. The backbone shall be capable of fitting into a 2” hitch receiver tube for mounting a Hemisphere monitor to a vehicle. For maximum corrosion protection the unit shall be made of hardcoat anodized aluminum alloy and stainless steel. The unit shall have a unique serial number and be covered by a five year warranty.