HVIT ORIFICE KIT

Task Force Tips model HVIT2-KIT valve integral tip orifice kit shall be provided. The orifice kit shall include parts to replace front end assembly on HVIT models and shall be 15/16” diameter orifice size.