HVIT ORIFICE KIT

Task Force Tips model HVIT3-KIT valve integral tip orifice kit shall be provided. The orifice kit shall include parts to replace front end assembly on HVIT models and shall be 1” diameter orifice size.