IN-LINE PRESSURE GAUGE

Task Force Tips model # J25G200S in-line pressure gauge with pivoting outlet shall be provided. For corrosion resistance the body shall be constructed from hardcoat anodized aluminum alloy. The gauge shall be liquid filled, have a pressure range of 0-200 PSI, and include a protective cover with replaceable lens to prevent damage. The gauge shall utilize a pitot type measurement device.

The gauge shall be configured with a 2-1/2" female NH swivel rocker lug inlet and a 2-1/2" male NH rigid outlet that pivots 40-degrees to reduce hose kinking. The unit shall have a unique serial number and be covered by a five-year warranty.