ADAPTER

Task Force Tips model # JIF-NJ adapter shall be provided. For corrosion resistance the lightweight adapter shall have a hardcoat anodized finish and have a 900 PSI hydrostatic strength rating. The adapter shall be configured with 1-1/2" female NPSH rigid and 2-1/2" male NH rigid threads. The unit shall be covered by a five-year warranty.