FIXED GALLONAGE NOZZLE DISCS

Task Force Tips Metro 1, model # ME1-TO-KIT fixed gallonage nozzle flow disc kit shall be provided. The kit shall contain ten user changeable flow discs with the following eighteen flow and pressure capabilities (K Factors):

95 GPM @ 50 PSI (K=13.4)

125 GPM @ 50 PSI (K=17.7)

150 GPM @ 50 PSI (K=21.2)

160 GPM @ 50 PSI (K=22.6)

175 GPM @ 50 PSI (K=24.7)

185 GPM @ 50 PSI (K=26.2)

200 GPM @ 50 PSI (K=28.3)

60 GPM @ 75 PSI (K=6.9)

125 GPM @ 75 PSI (K=14.4)

150 GPM @ 75 PSI (K=17.3)

175 GPM @ 75 PSI (K=20.2)

185 GPM @ 75 PSI (K=21.4)

200 GPM @ 75 PSI (K=23.1)

60 GPM @ 100 PSI (K=6.0)

95 GPM @ 100 PSI (K=9.5)

125 GPM @ 100 PSI (K=12.5)

150 GPM @ 100 PSI (K=15.0)

175 GPM @ 100 PSI (K=17.5)

The kit shall include a retaining ring, instructions and shall be covered by a 5-year warranty.