FIXED GALLONAGE NOZZLE DISCS

Task Force Tips Metro 2, model # ME2-KIT fixed gallonage nozzle flow disc kit shall be provided. The kit shall contain five user changeable flow discs with the following ten flow and pressure capabilities (K Factors):

185 GPM @ 50 PSI (K=26.2)

250 GPM @ 50 PSI (K=35.4)

125 GPM @ 75 PSI (K=14.4)

185 GPM @ 75 PSI (K=21.4)

200 GPM @ 75 PSI (K=23.1)

250 GPM @ 75 PSI (K=28.9)

95 GPM @ 100 PSI (K=9.5)

175 GPM @ 100 PSI (K=17.5)

250 GPM @ 100 PSI (K=25.0)

325 GPM @ 100 PSI (K=32.5)

The kit shall include a retaining ring, instructions and shall be covered by a 5-year warranty.