STACKED TIP NOZZLES

Task Force Tips model # MST-3NJ smooth bore stacked tip set shall be provided. For corrosion resistance the tip set shall be constructed from hardcoat anodized aluminum alloy. The set shall consist of three (3) tips with the base tip having a 2-1/2" female NH swivel inlet and 1-1/2" outlet. The other tip sizes shall be 1-1/4" and 1". Each tip shall be laser engraved with a flow/pressure chart, orifice size, and thread size. The unit shall be covered by a five-year warranty.