DISTRIBUTOR NOZZLE KIT

Task Force Tips model # PA3-EV Transformer distributor nozzle kit shall be provided. The kit shall include an inline rotary valve, four 19” extension tubes, 3 port junction block, removable striking head, spinning distributor nozzle, and storage bag with carrying strap. The distributor nozzle shall have a system of spinning heads for a wide, fully filled spray pattern. Each nozzle shall have a nominal flow capability of 150 GPM at 100 PSI. The inlet shall be a 1-1/2" female NH swivel coupling. The kit shall have a unique serial number and be covered by a five-year warranty.