PRO/pak STORAGE BRACKET

A Task Force Tips model # U-B storage bracket shall be supplied. The storage bracket shall be designed to store the PRO/pak system and have a strap with a quick release buckle type closure. The bracket shall be made from aluminum and shall have mounting holes and be capable of mounting to a vertical or horizontal surface.