EDUCTOR PICK UP HOSE

Task Force Tips model # UE950 eductor pick up hose shall be provided. The flexible foam concentrate hose shall be clear, 8' in length, 1-1/4” ID with a 1" female cam lock fitting on one end and no fitting on the opposite end. The unit shall have be covered by a five-year warranty.