STREAM STRAIGHTENER

Task Force Tips model # XF-SS5-NN stream straightener shall be supplied. The straightener shall be constructed from extruded aluminum with internal vanes designed to reduce turbulence and increase the reach of smooth bore water streams. The device shall be five (5) inches in length and have 3-1/2" female NH rigid inlet and 2-1/2" male NH rigid outlet.