MONITOR TOP PIPE ADAPTER

Task Force Tips model # XFF-APL piping adapter for the Crossfire monitor shall be installed. The adapter shall be constructed from hardcoat anodized aluminum and be designed to attach directly to a 3" male NPT pipe thread. The unit shall have a unique serial numbers and be covered by a five-year warranty.