MONITOR TOP FLANGE ADAPTER

Task Force Tips model # XFF-MPL adapter flange for a Crossfire monitor shall be installed. The adapter shall be constructed from hardcoat anodized aluminum, and configured for installation on a 3" ANSI companion flange. A 3” flange gasket and (4) four 5/8”-11 x 3” stainless bolts, and nuts shall be included. The unit shall be covered by a five-year warranty.