OPTIONAL PUSH BUTTON EXTEND-A-GUN RC CONTROL PANEL

Task Force Tips model # XGA-RP optional Extend-A-Gun RC push button control panel shall be installed. The control is designed as an optional control for the Extend-A-Gun RC electric telescoping waterway. The control shall have UP and DOWN push buttons on a panel designed for flush mounting. The control shall include a cable and plug to connect to Extend-A-Gun RC electronics interface box. The unit shall be covered by a five-year warranty.