EXTEND-A-GUN BRACKET SET

Task Force Tips model # XGB-13 bracket set shall be installed. The set shall include a tube and saddle brackets and is designed to securely mount the 3” Extend-A-Gun or Extend-A-Gun RC3 telescoping waterway. The unit shall be covered by a five-year warranty.