TETHER OR WIRELESS CONTROLLER BRACKET KIT

Task Force Tips model # Y4E-BRKT-KIT controller storage bracket shall be provided. The bracket shall be stainless steel, have mounting holes, and include hardware and a locking mechanism for securing a Task Force Tips tether or wireless controller. The bracket shall comply with NFPA 1901 Section14.1.11 to provide safe and secure equipment mounting in the crew compartment. The unit shall have a 5-year warranty.