REMOTE MONITOR JOYSTICK CONTROL

Task Force Tips model # Y4E-JS-LT joystick style control station for Tornado LT series (only) remote control monitors shall be installed. The joystick shall be mounted in an enclosure and control horizontal rotation, vertical elevation and nozzle stream pattern and have a momentary trigger button that can control an optional Task Force Tips valve with interface box by squeezing if desired. The control requires 12 or 24-volt DC power.

The enclosure shall include push button switches to program and control programmable park and oscillate functions, and a toggle switch to control an optional Task Force Tips valve with interface box. A ten foot long, four-conductor cable with unterminated wires for connection to power and monitor shall exit the enclosure. Joystick control can be removed from its box and mounted into a console.

The joystick enclosure box shall include a circuit board to communicate with the Task Force Tips remote control Tornado LT monitor and optional valve interface. Internally mounted switches shall be included for the ability to choose which control station shall be dominant where additional controls are used, and to retain oscillate programming if desired. A storage bracket for the handheld control shall be included and shall comply with NFPA 1901 Section14.1.11. The unit shall have a unique serial number and shall be covered by a five-year warranty.

Location of storage bracket shall be: