REPAIR KIT

Task Force Tips model # Y6200-M-KIT electric actuator repair kit shall be provided. The kit shall be designed for Master 1000 and 1250 small body series nozzles. The actuator shall be for 12 or 24-volt systems and shall include a 6-pin waterproof connection plug. The kit shall be covered by a five-year warranty.