REPAIR KIT

Task Force Tips model # Y6201-B-KIT electric actuator repair kit for 12-24 VDC systems shall be provided. The electric drive unit shall be enclosed in a waterproof aluminum housing and include a manual override device in the event the power source fails. The unit shall be compatible with 12 or 24-volt power systems and require no more than a 3-amp power draw and include a 60" two-wire cable.

The kit shall be designed for Task Force Tips Ultimatic series nozzles manufactured after 1983.