REPAIR KIT

Task Force Tips model # Y6201-MS-KIT electric actuator repair kit shall be provided. The kit shall be designed for Master Stream 2000 series nozzles. The actuator shall be for 12 or 24-volt systems and shall include a 60” two-wire cable. The kit shall be covered by a five-year warranty.