BLUETOOTH® ADAPTER

Task Force Tips model # YE-BT1 Bluetooth® adapter for Monsoon, Hurricane, Typhoon, Tsunami, Tornado, and EF1 series remote control monitors shall be installed. The adapter allows a user to control, configure, and service any TFT RC monitor or RC Valve Under Monitor when used with the TFT Tactile Touch screen controller (not included).

The module shall be capable of being connected to the RC monitor wiring with a waterproof plug and socket.  The module shall have a two mounting studs. The unit shall have a unique serial number and be covered by a five-year warranty.