MONITOR EXTENSION CABLE

Task Force Tips model # YE-CAB-6 extension cable for Monsoon, Hurricane, Typhoon, Tsunami, Tornado, and EF1 series remote control monitors shall be installed. The four-conductor cable shall be 72” in length and include waterproof receptacle and plug installed.

The unit shall be covered by a five-year warranty.