CANBUS ADAPTER

Task Force Tips model # YE-CAN2 CANbus interface adapter for Monsoon, Hurricane, Typhoon, Tsunami, Tornado, and EF1 series remote control monitors shall be installed. The adapter allows control any TFT RC monitor or RC Valve Under Monitor on a J1939 CANbus system.

The module shall be capable of being connected to the RC monitor wiring with a waterproof plug and socket.  The module shall have a two mounting studs. The unit shall have a unique serial number and be covered by a five-year warranty.