MASTER STREAM STACK TIP SET

Task Force Tips model # YST-4NN smooth bore stacked tip set shall be provided. For corrosion resistance the tip set shall be constructed from hardcoat anodized aluminum alloy. The set shall consist of four (4) tips with the base tip having a 3-1/2" female NH swivel rocker lug inlet, integral stream straightener and 2-3/4" outlet. The other tip sizes shall be 2-1/2", 2-1/4" and 2". Each tip shall be laser engraved with a flow/pressure chart, orifice size, and thread size. The unit shall be covered by a five-year warranty.