FOAM SUPPLY HOSE

A Task Force Tips model # Z622A supply hose shall be supplied. The 10' long hose shall be constructed from industrial grade, UV resistant flexible material and have one 1-1/2" aluminum female Cam lock coupling.