FOAM SUPPLY HOSE

A Task Force Tips model # Z625A supply hose shall be supplied. The 10' long, 1-1/2” diameter hose shall be constructed from industrial grade, UV resistant flexible material and have 1-1/2" and 2" aluminum female Cam lock couplings.