BALL VALVE UPGRADE KIT

Task Force Tips model # Z910-KIT ball valve upgrade kit shall be provided. The kit shall be designed for use with the Protector Series monitors and shall include valve ball, operating lever handle and hardware. The unit shall be covered by a five-year warranty.