INDUSTRIAL NOZZLE

Task Force Tips model # ZN13A nozzle shall be provided. The fixed gallonage nozzle shall be designed for durability, ease of use and to deliver a high-quality water or foam stream and performance. The stream shall be user adjustable from straight to a 120-degree fog pattern. The nozzle shall have a field removable stainless steel baffle to allow for flushing of debris, require no grease or maintenance and have UV resistant non corroding components.

The nozzle shall be suitable for foam solution application and designed to accept the Task Force Tips FJ-MX-MD multi-expansion air aspirating attachment. The nozzle body shall be constructed from hardcoat anodized aluminum and configured with a 2-1/2" female NH rigid rocker lug coupling, have a 750 GPM @ 100 PSI rating. The unit shall have a unique serial number and be covered by a five-year warranty.